PRS10_3.15_SN_4797

Factory Settings	Analog Output Values
sd043	Step Recovery Diode
ad00.005Spare
ad12.307+24 Volt Heater Supply
ad22.328+24 Volt Electronics Supply
ad30.496Lamp Drain Voltage
ad40.302Lamp Gate Voltage
ad52.271Crystal Heater Control
ad62.236Cell Heater Control
ad71.435Lamp Heater Control
ad81.737AC Photosignal
ad92.878Photocell I/V Voltage
ad100.696Case Temperature
ad110.950Crystal Thermistors
ad120.961Cell Thermistors
ad130.975Lamp Thermistors
ad142.370Frequency Pot Voltage
ad150.005Analog Ground
ad162.84022.48MHz Varactor Voltage
ad173.090360MHz Varactor Voltage
ad182.020Gain Control Voltage
ad194.800RF Synthesizer Lock Indicator
sd1128Delay Value
sd255	Fet Voltage Set
sd3150Lamp Temperature Set
sd4198Crystal Temperature Set
sd5190Cell Temperature Set
sd631Output Voltage
sd7200RF Modulation
R	4934SP Parameters (PLL)
N	2773
A	14
SF	-104Set Frequency
SS1436Set Slope
MO2651Magnetic Offset
MR2622Magnetic Read
MS1Magnetic Switching
LO1	Lock
GA7	Gain Value
PH24	Phase Value
EP1	Enable Power

1pps Control
TO-1819	Time Offset
TS14106	Time Slope
PS183	Pulse Slope
PL1	Phase Lock Flag
PT8	Lock Time Constant
PF2	Lock Stability Factor
PI	-1	Lock Integral Term
LM1	Lock Mode
TT	Last Valid Tag
Starts and Burns
Starts92
Burns1075
Date and Time
02-28-2018 16:03:53